## Eskom
|  | 2010-01-10 | 2010-02-10 | 2010-03-10 | 2010-04-10 | 2010-05-10 | 2010-06-10 | 2010-07-10 | 2010-08-10 | 2010-09-10 | 2010-10-10 | 2010-11-10 | 2010-12-10 | 2011-01-10 | 2011-02-10 | 2011-03-10 | 2011-04-10 | 2011-05-10 | 2011-06-10 | 2011-07-10 | 2011-08-10
Summary | Admin Charge | 2010-08-10: 21088.99; 2010-09-10: x
| Transmission Nework Charge | 2010-08-10: 446483.54; 2010-09-10: x
| Dist. Network Access Charge | 2010-08-10: 895632.66; 2010-09-10: x
| Network Charge Demand | 2010-08-10: 1141052.9; 2010-09-10: x
| TX Network Access Charge @ rate | 2010-08-10: 3.35
| Utilized Capacity | 2010-08-10: 133278.6687
| Network Access Charge @ Rate | 2010-08-10: 6.72
| Utilized Capacity | 2010-08-10: 133278.6696
| Network Demand Charge @ rate | 2010-08-10: 12.73
| Maximum Demand kVA | 2010-08-10: 89634.9489
| DX Excess Network Access Charge | 2010-08-10: 46555.32; 2010-09-10: x
| DX Excess Network Access Charge @ | 2010-08-10: 3.35
| DX Excess Network Access kVA | 2010-08-10: 13897.1104
| Energy Charge (Off) kWh | 2010-08-10: 18884803; 2010-09-10: x
| Energy Charge (Off) @ | 2010-08-10: 0.1977
| Energy Charge (Off) R | 2010-08-10: 3733525.52; 2010-09-10: x
| Energy Charge (Peak) kWh | 2010-08-10: 4812144; 2010-09-10: x
| Energy Charge (Peak) @ | 2010-08-10: 1.4238
| Energy Charge (Peak) R | 2010-08-10: 6851530.63; 2010-09-10: x
| Energy Consumption Standard kWh | 2010-08-10: 13427687; 2010-09-10: x
| Energy Charge (Off) @ | 2010-08-10: 0.3701
| Energy Charge (Off) R | 2010-08-10: 4969586.97; 2010-09-10: x
| Energy Consumption All kWh | 2010-08-10: 47709691.7715
| Reactive Energy kVArh | 2010-08-10: 5423595; 2010-09-10: x
| Reactive Energy @ | 2010-08-10: 0.0589
| Reactive Energy R | 2010-08-10: 319449.17; 2010-09-10: x
| Electrification and rural subs (All) @ | 2010-08-10: 0.024044
| Electrification and rural subs (All) | 2010-08-10: 1147151.22; 2010-09-10: x
| Environmental Levy @ | 2010-08-10: 0.015563
| Environmental Levy | 2010-08-10: 742492.7; 2010-09-10: x
| Service Charge | 2010-08-10: 50800.63; 2010-09-10: x
| Total Costs | 2010-08-10: 20365350.84
| Energy Cost: c/kWh | 2010-08-10: 42.686
| Diffs from Calculated Bill | 2010-08-10: -0.59
| % Diff Eskom / Calculated | 2010-08-10: -2.897e-06%
5285390071
Gemsbok | Notified Max Demand | 2010-01-10: 4500; 2010-02-10: 4500; 2010-03-10: 4500; 2010-04-10: 4500; 2010-08-10: 4500; 2010-09-10: x
| Utilised Capacity | 2010-01-10: 4500; 2010-02-10: 4500; 2010-03-10: 4500; 2010-04-10: 4500; 2010-08-10: 4500; 2010-09-10: x
| Energy Consumption Off peak kWh | 2010-01-10: 606303; 2010-03-10: 634206.24; 2010-04-10: 684285.12; 2010-08-10: 694042.2; 2010-09-10: x
| Energy Consumption Standard kWh | 2010-01-10: 408277.44; 2010-03-10: 500858.28; 2010-04-10: 438594.84; 2010-08-10: 515092.32; 2010-09-10: x
| Energy Consumption Peak kWh | 2010-01-10: 162726.12; 2010-03-10: 202717.08; 2010-04-10: 172180.08; 2010-08-10: 205524.36; 2010-09-10: x
| Energy Consumption All kWh | 2010-01-10: 1177306.56; 2010-03-10: 1337781.6; 2010-04-10: 1295060.04; 2010-08-10: 1414658.88; 2010-09-10: x
| Off-Peak Demand Consumption | 2010-01-10: 2281.11; 2010-03-10: 2326.23; 2010-04-10: 2326.52; 2010-08-10: 1998.72; 2010-09-10: x
| Std Demand Consumption | 2010-01-10: 2336.35; 2010-03-10: 2379.92; 2010-04-10: 2359.12; 2010-08-10: 2106; 2010-09-10: x
| Peak Demand Consumption | 2010-01-10: 2331.84; 2010-03-10: 2366.32; 2010-04-10: 2363.68; 2010-08-10: 2121.84; 2010-09-10: x
| Demand Reading kW/kVA | 2010-01-10: 2336.35; 2010-03-10: 2379.92; 2010-04-10: 2363.68; 2010-08-10: 2121.84; 2010-09-10: x
| Reactive Energy Off Peak | 2010-01-10: 518400; 2010-03-10: 471230.64; 2010-04-10: 508679.28; 2010-08-10: 372.96; 2010-09-10: x
| Reactive Energy Standard | 2010-01-10: 346643.64; 2010-03-10: 360118.36; 2010-04-10: 323278.56; 2010-08-10: 127.44; 2010-09-10: x
| Reactive Energy Peak | 2010-01-10: 137977.56; 2010-03-10: 148504.32; 2010-04-10: 126531; 2010-08-10: 148.68; 2010-09-10: x
| Excess Reactive Energy | 2010-08-10: 0; 2010-09-10: x
| Load Factor | 2010-01-10: 82; 2010-03-10: 92; 2010-04-10: 93; 2010-08-10: 89; 2010-09-10: x
| Days | 2010-01-10: 31; 2010-03-10: 31; 2010-04-10: 30; 2010-08-10: 31; 2010-09-10: x
| Admin Charge @ rate | 2010-03-10: 42.37; 2010-04-10: 52.33; 2010-08-10: 52.33; 2010-09-10: x
| Admin Costs | 2010-01-10: 1313.47; 2010-02-10: 1186; 2010-03-10: 1313.47; 2010-04-10: 1569.9; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 1622.23; 2010-09-10: x
| TX Network Access Charge @ rate | 2010-01-10: 2.71; 2010-02-10: 2.71; 2010-03-10: 2.71; 2010-04-10: 3.35; 2010-08-10: 3.35; 2010-09-10: x
| TX Network Access Cost | 2010-01-10: 12195; 2010-02-10: 12195; 2010-03-10: 12195; 2010-04-10: 15075; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 15075; 2010-09-10: x
| Network Access Charge @ Rate | 2010-01-10: 5.44; 2010-02-10: 5.44; 2010-03-10: 5.44; 2010-04-10: 6.72; 2010-08-10: 6.72; 2010-09-10: x
| Network Access cost | 2010-01-10: 24480; 2010-02-10: 24480; 2010-03-10: 24480; 2010-04-10: 30240; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 30240; 2010-09-10: x
| Network Demand Charge @ rate | 2010-01-10: 10.31; 2010-02-10: 10.31; 2010-03-10: 10.31; 2010-04-10: 12.73; 2010-08-10: 12.73; 2010-09-10: x
| Network Demand cost | 2010-01-10: 24087.7685; 2010-02-10: 0; 2010-03-10: 24536.9752; 2010-04-10: 30089.6464; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 27011.0232; 2010-09-10: x
Number of Events
NMD exceeded by
| Excess NAC charge @ | 2010-08-10: 10.07
| Excess NAC charge | 2010-08-10: 0
| Low Season Off-peak Energy Charge @ | 2010-01-10: 0.1379; 2010-02-10: 0.1379; 2010-03-10: 0.1379; 2010-04-10: 0.1703; 2010-09-10: x
| Low Season Off-peak Energy cost | 2010-01-10: 83609.1837; 2010-02-10: 0; 2010-03-10: 87457.0405; 2010-04-10: 116533.7559; 2010-05-10: 0; 2010-09-10: x
| High Season Off-peak Energy Charge @ | 2010-08-10: 0.1977; 2010-09-10: x
| High Season Off-peak Energy cost | 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 137212.1429; 2010-09-10: x
| Low Season Peak Energy Charge @ | 2010-01-10: 0.3219; 2010-02-10: 0.3219; 2010-03-10: 0.3219; 2010-04-10: 0.3975; 2010-09-10: x
| Low Season Peak Energy cost | 2010-01-10: 52381.538; 2010-02-10: 0; 2010-03-10: 65254.6281; 2010-04-10: 68441.5818; 2010-05-10: 0; 2010-09-10: x
| High Season Peak Energy Charge @ | 2010-08-10: 1.4238; 2010-09-10: x
| High Season Peak Energy cost | 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 292625.5838; 2010-09-10: x
| Low Season Standard Energy Charge @ | 2010-01-10: 0.1972; 2010-02-10: 0.1972; 2010-03-10: 0.1972; 2010-04-10: 0.2435; 2010-09-10: x
| Low Season Standard Energy cost | 2010-01-10: 80512.3112; 2010-02-10: 0; 2010-03-10: 98769.2528; 2010-04-10: 106797.8435; 2010-05-10: 0; 2010-09-10: x
| High Season Standard Energy Charge @ | 2010-08-10: 0.3701; 2010-09-10: x
| High Season Standard Energy cost | 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 190635.6676; 2010-09-10: x
High season Exsess Reactive Energy | bar: 2010-06-10 to 2010-09-10; 2011-06-10 to 2011-08-10
| High season Exsess Reactive Energy @ | 2010-08-10: 0.0589; 2010-09-10: x
| High season Exsess Reactive Cost | 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0; 2010-09-10: x
| Electrification & Rural Sub @ | 2010-01-10: 0.025; 2010-02-10: 0.025; 2010-03-10: 0.025; 2010-04-10: 0.0309; 2010-08-10: 0.0309; 2010-09-10: x
| Electrification & Rural cost | 2010-01-10: 29432.664; 2010-02-10: 0; 2010-03-10: 33444.54; 2010-04-10: 40017.3552; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 43712.9594; 2010-09-10: x
| Retail Environmental Levy Charge @ | 2010-01-10: 0.0197; 2010-02-10: 0.0197; 2010-03-10: 0.0197; 2010-04-10: 0.02; 2010-08-10: 0.02; 2010-09-10: x
| Retail Environmental Levy Charge | 2010-01-10: 23192.9392; 2010-02-10: 0; 2010-03-10: 26354.2975; 2010-04-10: 25901.2008; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 28293.1776; 2010-09-10: x
Service | bar: 2010-01-10 to 2011-08-10
Rebilled Adjustments | bar: 2010-01-10 to 2011-08-10
| Total Costs | 2010-01-10: 331204.77; 2010-03-10: 373805.22; 2010-04-10: 434666.27; 2010-08-10: 766427.11; 2010-09-10: x
| Energy Cost: c/kWh | 2010-01-10: 28.1324; 2010-02-10: #DIV/0!; 2010-03-10: 27.9422; 2010-04-10: 33.5634; 2010-05-10: #DIV/0!; 2010-06-10: #DIV/0!; 2010-07-10: #DIV/0!; 2010-08-10: 54.1775
| Calculated Bill | 2010-01-10: 0.10463; 2010-02-10: 37861; 2010-03-10: -0.015916; 2010-04-10: 0.013712; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0.67453
| % Diff Eskom / Calculated | 2010-01-10: 3.159e-05%; 2010-02-10: #DIV/0!; 2010-03-10: -4.258e-06%; 2010-04-10: 3.155e-06%; 2010-05-10: #DIV/0!; 2010-06-10: #DIV/0!; 2010-07-10: #DIV/0!; 2010-08-10: 8.801e-05%
5285390395
Waterpan Mill | Notified Max Demand
Utilised Capacity
Energy Consumption Off peak kWh
Energy Consumption Standard kWh
Energy Consumption Peak kWh
Energy Consumption All kWh
Off-Peak Demand Consumption
Std Demand Consumption
Peak Demand Consumption
Demand Reading kW/kVA
Reactive Energy Off Peak
Reactive Energy Standard
Reactive Energy Peak
Excess Reactive Energy
Load Factor
Days
| Admin Charge @ rate | 2010-01-10: 42.37; 2010-02-10: 42.37; 2010-03-10: 42.37; 2010-04-10: 42.37
| Admin Costs | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
| TX Network Access Charge @ rate | 2010-01-10: 2.71; 2010-02-10: 2.71; 2010-03-10: 2.71; 2010-04-10: 2.71
| TX Network Access Cost | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
| Network Access Charge @ Rate | 2010-01-10: 5.44; 2010-02-10: 5.44; 2010-03-10: 5.44; 2010-04-10: 5.44
| Network Access cost | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
| Network Demand Charge @ rate | 2010-01-10: 10.31; 2010-02-10: 10.31; 2010-03-10: 10.31; 2010-04-10: 10.31
| Network Demand cost | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
Number of Events
NMD exceeded by
| Excess NAC charge @ | 2010-08-10: 10.07
| Excess NAC charge | 2010-08-10: 0
| Low Season Off-peak Energy Charge @ | 2010-01-10: 0.1379; 2010-02-10: 0.1379; 2010-03-10: 0.1379; 2010-09-10: x
| Low Season Off-peak Energy cost | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0
| High Season Off-peak Energy Charge @ | 2010-08-10: 0.1977
| High Season Off-peak Energy cost | 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
| Low Season Peak Energy Charge @ | 2010-01-10: 0.3219; 2010-02-10: 0.3219; 2010-03-10: 0.3219
| Low Season Peak Energy cost | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0
| High Season Peak Energy Charge @ | 2010-08-10: 1.4238
| High Season Peak Energy cost | 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
| Low Season Standard Energy Charge @ | 2010-01-10: 0.1972; 2010-02-10: 0.1972; 2010-03-10: 0.1972
| Low Season Standard Energy cost | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0
| High Season Standard Energy Charge @ | 2010-08-10: 0.3701
| High Season Standard Energy cost | 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
High season Exsess Reactive Energy | bar: 2010-06-10 to 2010-08-10; 2011-06-10 to 2011-08-10
| High season Exsess Reactive Energy @ | 2010-08-10: 0.0589
| High season Exsess Reactive Cost | 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
| Electrification & Rural Sub @ | 2010-01-10: 0.025; 2010-02-10: 0.025; 2010-03-10: 0.025
| Electrification & Rural cost | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
| Retail Environmental Levy Charge @ | 2010-01-10: 0.0197; 2010-02-10: 0.0197; 2010-03-10: 0.0197
| Retail Environmental Levy Charge | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
Service
Rebilled Adjustments
Total Costs
| Energy Cost: c/kWh | 2010-01-10: #DIV/0!; 2010-02-10: #DIV/0!; 2010-03-10: #DIV/0!; 2010-04-10: #DIV/0!; 2010-05-10: #DIV/0!; 2010-06-10: #DIV/0!; 2010-07-10: #DIV/0!; 2010-08-10: #DIV/0!
| Calculated Bill | 2010-01-10: 0; 2010-02-10: 0; 2010-03-10: 0; 2010-04-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 0
| % Diff Eskom / Calculated | 2010-01-10: #DIV/0!; 2010-02-10: #DIV/0!; 2010-03-10: #DIV/0!; 2010-04-10: #DIV/0!; 2010-05-10: #DIV/0!; 2010-06-10: #DIV/0!; 2010-07-10: #DIV/0!; 2010-08-10: #DIV/0!
Note on E1: Chris.T: Tariff Changed
Note on B28: DRA: Rate rebalance levy
Note on B46: DRA: Network access kVa
Note on B83: DRA: Rate rebalance levy
Note on B84: DRA: Rate rebalance levy
Note on B102: DRA: Network access kVa
Note on B139: DRA: Rate rebalance levy
Note on B140: DRA: Rate rebalance levy

## Vent-3#
Statistics is Based On ESKOM Invoice
Month End |  | 2010-01-07 | 2010-02-07 | 2010-03-07 | 2010-04-07 | 2010-05-07 | 2010-06-07 | 2010-07-07 | 2010-08-07 | 2010-09-07 | 2010-10-07 | 2010-11-07 | 2010-12-07
|  | 4500 | 4500 | 4500 | 4500 | 0 | 0 | 0 | 4500 | x | 0 | 0 | 0
|  | 4500 | 4500 | 4500 | 4500 | 0 | 0 | 0 | 4500 | x | 0 | 0 | 0
Energy | Off-Peak kWh | 606303 | 0 | 634206.24 | 684285.12 | 0 | 0 | 0 | 694042.2 | x | 0 | 0 | 0
| Standard kWh | 408277.44 | 0 | 500858.28 | 438594.84 | 0 | 0 | 0 | 515092.32 | x | 0 | 0 | 0
| Peak kWh | 162726.12 | 0 | 202717.08 | 172180.08 | 0 | 0 | 0 | 205524.36 | x | 0 | 0 | 0
| Total | 1177306.56 | 0 | 1337781.6 | 1295060.04 | 0 | 0 | 0 | 1414658.88 | x | 0 | 0 | 0
Demand | Off-Peak | 2281.11 | 0 | 2326.23 | 2326.52 | 0 | 0 | 0 | 1998.72 | x | 0 | 0 | 0
| Standard | 2336.35 | 0 | 2379.92 | 2359.12 | 0 | 0 | 0 | 2106 | x | 0 | 0 | 0
| Peak | 2331.84 | 0 | 2366.32 | 2363.68 | 0 | 0 | 0 | 2121.84 | x | 0 | 0 | 0
| Demand | 2336.35 | 0 | 2379.92 | 2363.68 | 0 | 0 | 0 | 2121.84 | x | 0 | 0 | 0
Reactve Energy | Off-Peak | 518400 | 0 | 471230.64 | 508679.28 | 0 | 0 | 0 | 372.96 | x | 0 | 0 | 0
| Standard | 346643.64 | 0 | 360118.36 | 323278.56 | 0 | 0 | 0 | 127.44 | x | 0 | 0 | 0
| Peak | 137977.56 | 0 | 148504.32 | 126531 | 0 | 0 | 0 | 148.68 | x | 0 | 0 | 0
| Excess | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | x | 0 | 0 | 0
Reactive Energy Total |  | 1003021.2 | 0 | 979853.32 | 958488.84 | 0 | 0 | 0 | 649.08 | 0 | 0 | 0 | 0
Appareny Energy | VAh | 1546642.2546 | 0 | 1658243.6908 | 1611173.9086 | 0 | 0 | 0 | 1414659.0289 | #VALUE! | 0 | 0 | 0
Average PF |  | 0.7612 | #DIV/0! | 0.80675 | 0.8038 | #DIV/0! | #DIV/0! | #DIV/0! | 1 | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0!
Energy Cost | Off-Peak | 83609.1837 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | 0.3219 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Energy Cost |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Demand Cost |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Other Costs |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Invoice | ESKOM Total | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Energy Cost | c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
% Increase |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
%Annual increase | % | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Rates | Peak c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2010-01-01
40179

## Load Shifting Savings
Month End |  | 2010-02-07 | 2010-03-07 | 2010-04-07 | 2010-05-07 | 2010-06-07
Five# |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | #REF! | #REF! | #REF! | #REF! | #REF!
Demand | Off-Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand | #REF! | #REF! | #REF! | #REF! | #REF!
Energy | Off-Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Total | #REF! | #REF! | #REF! | #REF! | #REF!
Reactve Energy | Off-Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Total | #REF! | #REF! | #REF! | #REF! | #REF!
Energy Charge & Rate | Low Season Off-peak Energy Charge @ | 0.1379 | 0.1379 | 0.1703 | 0.1703 | 1.1703
| Low Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Off-peak Energy Charge @
High Season Off-peak Energy cost
| Low Season Peak Energy Charge @ | 0.3219 | 0.3219 | 0.3975 | 0.3975 | 1.3975
| Low Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Peak Energy Charge @
High Season Peak Energy cost
| Low Season Standard Energy Charge @ | 0.1972 | 0.1972 | 0.2435 | 0.2435 | 1.2435
| Low Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Standard Energy Charge @
High Season Standard Energy cost
High season reactive @
High season reactive
Cost savings | Off-Peak kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Standard kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Peak kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Energy Total Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Off-Peak kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Standard kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Peak kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Energy Total |  |  | #REF! | #REF! | #REF!
| Off-Peak kWh % Change |  |  | #REF! | #REF! | #REF!
| Standard kWh % Change |  |  | #REF! | #REF! | #REF!
| Peak kWh % Change |  |  | #REF! | #REF! | #REF!
| Energy Total |  |  | #REF! | #REF! | #REF!
| Off-Peak kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Standard kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Peak kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Energy Total Cost Change |  |  | #REF! | #REF! | #REF!
Month End |  | 2010-02-07 | 2010-03-07 | 2010-04-07 | 2010-05-07 | 2010-06-07
7# |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | #REF! | #REF! | #REF! | #REF! | #REF!
Demand | Off-Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand | #REF! | #REF! | #REF! | #REF! | #REF!
Energy | Off-Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Total | #REF! | #REF! | #REF! | #REF! | #REF!
Reactve Energy | Off-Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Total | #REF! | #REF! | #REF! | #REF! | #REF!
Energy Charge & Rate | Low Season Off-peak Energy Charge @ | 0.1379 | 0.1379 | 0.1703 | 0.1703 | 1.1703
| Low Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Off-peak Energy Charge @
High Season Off-peak Energy cost
| Low Season Peak Energy Charge @ | 0.3219 | 0.3219 | 0.3975 | 0.3975 | 1.3975
| Low Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Peak Energy Charge @
High Season Peak Energy cost
| Low Season Standard Energy Charge @ | 0.1972 | 0.1972 | 0.2435 | 0.2435 | 1.2435
| Low Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Standard Energy Charge @
High Season Standard Energy cost
High season reactive @
High season reactive
Cost savings | Off-Peak kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Standard kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Peak kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Energy Total Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Off-Peak kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Standard kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Peak kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Energy Total |  |  | #REF! | #REF! | #REF!
| Off-Peak kWh % Change |  |  | #REF! | #REF! | #REF!
| Standard kWh % Change |  |  | #REF! | #REF! | #REF!
| Peak kWh % Change |  |  | #REF! | #REF! | #REF!
| Energy Total |  |  | #REF! | #REF! | #REF!
| Off-Peak kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Standard kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Peak kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Energy Total Cost Change |  |  | #REF! | #REF! | #REF!
| Total Cost Change: Ezulwini |  |  | #REF! | #REF! | #REF!

## PFC Savings2
|  | 2010-01-10 | 2010-02-10 | 2010-03-10 | 2010-04-10 | 2010-05-10 | 2010-06-10 | 2010-07-10 | 2010-08-10
Vent Shaft - 3# | Notified Max Demand | 4500 | 4500 | 4500 | 4500 | 0 | 0 | 0
| Utilised Capacity | 4500 | 4500 | 4500 | 4500 | 0 | 0 | 0
| Energy Consumption Off peak kWh | 606303 | 0 | 634206.24 | 684285.12 | 0 | 0 | 0
| Energy Consumption Standard kWh | 408277.44 | 0 | 500858.28 | 438594.84 | 0 | 0 | 0
| Energy Consumption Peak kWh | 162726.12 | 0 | 202717.08 | 172180.08 | 0 | 0 | 0
| Energy Consumption All kWh | 1177306.56 | 0 | 1337781.6 | 1295060.04 | 0 | 0 | 0
| Off-Peak Demand Consumption | 2281.11 | 0 | 2326.23 | 2326.52 | 0 | 0 | 0
| Std Demand Consumption | 2336.35 | 0 | 2379.92 | 2359.12 | 0 | 0 | 0
| Peak Demand Consumption | 2331.84 | 0 | 2366.32 | 2363.68 | 0 | 0 | 0
| Demand Reading kW/kVA | 2336.35 | 0 | 2379.92 | 2363.68 | 0 | 0 | 0
| Reactive Energy Off Peak | 518400 | 0 | 471230.64 | 508679.28 | 0 | 0 | 0
| Reactive Energy Standard | 346643.64 | 0 | 360118.36 | 323278.56 | 0 | 0 | 0
| Reactive Energy Peak | 137977.56 | 0 | 148504.32 | 126531 | 0 | 0 | 0
| Excess Reactive Energy | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Standard excess kVArh | 341561.625 | 0 | 286253.82 | 309096.12 | 0 | 0 | 0
| Peak excess kVArh | 227562.72 | 0 | 214034.695 | 195355.065 | 0 | 0 | 0
| Excess VArh Total - Calculated | 569124.345 | 0 | 500288.515 | 504451.185 | 0 | 0 | 0
| Excess VArh Total (Eskom or Calc) | 569124.345 | 0 | 500288.515 | 504451.185 | 0 | 0 | 0
| Load Factor |  |  | 92 | 93 | 90 | 89 | 89
| Days |  |  | 31 | 30 | 31 | 31 | 31
| Admin Charge @ rate | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 6.72 | 6.72
| Admin Costs | 1313.47 | 1186 | 1622.23 | 1569.9 | 1622.23 | 1622.23 | 1622.23 | 0 | 0
| TX Network Access Charge @ rate | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 12.73 | 12.73
| TX Network Access Cost | 67750 | 15075 | 15075 | 15075 | 0 | 0 | 0 | 0 | 0
| Network Access Charge @ Rate | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 0 | 0
| Network Access cost | 136000 | 30240 | 30240 | 30240 | 0 | 0 | 0 | 0 | 0
| Network Demand Charge @ rate | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 0.1977 | 0
| Network Demand cost | 29741.7355 | 0 | 30296.3816 | 30089.6464 | 0 | 0 | 0 | 0 | 0
| Low Season Off-peak Energy Charge @ | [8 empty] | 0
| Low Season Off-peak Energy cost | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
| High Season Off-peak Energy Charge @ | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977
| High Season Off-peak Energy cost | 119866.1031 | 0 | 125382.5736 | 135283.1682 | 0 | 0 | 0 | 0
| Low Season Peak Energy Charge @ | [8 empty] | 0
| Low Season Peak Energy cost | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
| High Season Peak Energy Charge @ | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238
| High Season Peak Energy cost | 231689.4497 | 0 | 288628.5785 | 245149.9979 | 0 | 0 | 0 | 0
| Low Season Standard Energy Charge @ | [8 empty] | 0
| Low Season Standard Energy cost | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
| High Season Standard Energy Charge @ | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701
| High Season Standard Energy cost | 151103.4805 | 0 | 185367.6494 | 162323.9503 | 0 | 0 | 0 | 0
| High season Exsess Reactive Energy | 569124.345 | 0 | 500288.515 | 504451.185 | 0 | 0 | 0
| High season Exsess Reactive Energy @ | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589
| High season Exsess Reactive Cost | 33521.4239 | 0 | 29466.9935 | 29712.1748 | 0 | 0 | 0 | 0
Voltage Surcharge | bar: 2010-01-10 to 2010-07-10
Transmission Surcharge | bar: 2010-01-10 to 2010-07-10
| Electrification & Rural Sub @ | 0.025 | 0.025 | 0.025 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0
| Electrification & Rural cost | 155974.23 | 0 | 33444.54 | 40017.3552 | 0 | 0 | 0 | 0 | 0
| Retail Environmental Levy Charge @ | 0.0197 | 0.0197 | 0.0197 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
| Retail Environmental Levy Charge | 122907.69 | 0 | 26354.2975 | 25901.2008 | 0 | 0 | 0 | 0 | 0
Service | bar: 2010-01-10 to 2010-07-10
Rebilled Adjustments | bar: 2010-01-10 to 2010-07-10
| Total Costs |  |  | 373805.22 | 434666.27 | 456619.85 | 774703.95 | 796754.94
| Energy Cost: c/kWh | 0 | #DIV/0! | 27.9422 | 33.5634 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Calculated Bill | 1049867.5827 | 46501 | 765878.2442 | 715362.3936 | 1622.23 | 1622.23 | 1622.23 | 0 | 0
| % Diff Eskom / Calculated | -100% | -100% | -51.19% | -39.24% | 28048% | 47655% | 49015% | #DIV/0! | #DIV/0!
| Energy Cost: c/kWh | 89.1754 | #DIV/0! | 57.2499 | 55.2378 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
3# | Demand Costs c/KVA | 233491.7355 | 45315 | 75611.3816 | 75404.6464 | 0 | 0 | 0
| Active Energy Cost c/kWh | 781540.9533 | 0 | 659177.6391 | 608675.6724 | 0 | 0 | 0
| Reactive Energy Cost | 33521.4239 | 0 | 29466.9935 | 29712.1748 | 0 | 0 | 0
| Normalised Demand ref.All kWh Jan 2010 | 233491.7355 | #DIV/0! | 66541.3365 | 68548.4704 | #DIV/0! | #DIV/0! | #DIV/0!
| Normalised Actice Energy Costs | 781540.9533 | #DIV/0! | 580105.2718 | 553331.7684 | #DIV/0! | #DIV/0! | #DIV/0!
| Normalised Reactive Energy Costs | 33521.4239 | #DIV/0! | 25932.2484 | 27010.592 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 2010-01-10 | 2010-02-10 | 2010-03-10 | 2010-04-10 | 2010-05-10 | 2010-06-10 | 2010-07-10
| % Demand cost ref Jan 2010 | 100% | 28.5% | 28.5% | 29.36% | #DIV/0! | #DIV/0! | #DIV/0!
| % Active Energy Costs ref Jan 2010 | 100% | 74.23% | 74.23% | 70.8% | #DIV/0! | #DIV/0! | #DIV/0!
| % Reactive Energy Costs ref Jan 2010 | 100% | 77.36% | 77.36% | 80.58% | #DIV/0! | #DIV/0! | #DIV/0!
Hartbeest Five - 5# | Notified Max Demand | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Utilised Capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Off peak kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Standard kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption All kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Off-Peak Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Std Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand Reading kW/kVA | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Off Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Standard | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess Reactive Energy | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard excess kVArh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak excess kVArh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArh Total - Calculated | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArh Total (Eskom or Calc) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Load Factor |  |  | 68 | 65 | 66 | 65 | 65
| Days |  |  | 31 | 30 | 31 | 30 | 31
| Admin Charge @ rate |  |  | 42.37 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33
| Admin Costs | 1313.47 | 1186 | 1313.47 | 1569.9 | 1622.23 | 1569.9 | 1622.23 | 0 | 0
| TX Network Access Charge @ rate | 2.71 | 2.71 | 2.71 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35
| TX Network Access Cost | 98756.14 | 98756.14 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Network Access Charge @ Rate | 5.44 | 5.44 | 5.44 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72
| Network Access cost | 198241.11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Network Demand Charge @ rate | 10.31 | 10.31 | 10.31 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73
| Network Demand cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Low Season Off-peak Energy Charge @ | [8 empty] | 0
| Low Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Off-peak Energy Charge @ | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977
| High Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| Low Season Peak Energy Charge @ | [8 empty] | 0
| Low Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Peak Energy Charge @ | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238
| High Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| Low Season Standard Energy Charge @ | [8 empty] | 0
| Low Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Standard Energy Charge @ | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701
| High Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| High season Exsess Reactive Energy | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| High season Exsess Reactive Energy @ | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589
| High season Exsess Reactive Cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
Voltage Surcharge
Transmission Surcharge
| Electrification & Rural Sub @ | 0.025 | 0.025 | 0.025 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309
| Electrification & Rural cost | 399765.25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Retail Environmental Levy Charge @ | 0.0197 | 0.0197 | 0.0197 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
| Retail Environmental Levy Charge | 315015.02 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
Service
| Total Costs |  |  | 546312.4 | 616258.97 | 608454.79 | 962235.47 | 965180.58
| Energy Cost: c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #DIV/0! | #DIV/0!
| Calculated Bill | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
5# | Demand Costs c/KVA | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Active Energy Cost c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Demand ref.All kWh Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Actice Energy Costs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Reactive Energy Costs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Demand cost ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Active Energy Costs ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Reactive Energy Costs ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Zandpan Shaft - 7# | Notified Max Demand | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Utilised Capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Off peak kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Standard kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption All kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Off-Peak Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Std Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand Reading kW/kVA | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Off Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Standard | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess Reactive Energy | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard excess kVArh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak excess kVArh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArh Total - Calculated |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArh Total (Eskom or Calc) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Load Factor |  |  | 78 | 61 | 73 | 76 | 78
| Days |  |  | 31 | 30 | 31 | 30 | 31
| Admin Charge @ rate |  |  | 42.37 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33
| Admin Costs | 1313.47 | 1186 | 1313.47 | 1569.9 | 1622.23 | 1569.9 | 1622.23 | 0 | 0
| TX Network Access Charge @ rate | 2.71 | 2.71 | 2.71 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35
| TX Network Access Cost | 67750 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Network Access Charge @ Rate | 5.44 | 5.44 | 5.44 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72
| Network Access cost | 136000 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Network Demand Charge @ rate | 10.31 | 10.31 | 10.31 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73
| Network Demand cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Low Season Off-peak Energy Charge @ | [8 empty] | 0
| Low Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Off-peak Energy Charge @ | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977
| High Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| Low Season Peak Energy Charge @ | [8 empty] | 0
| Low Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Peak Energy Charge @ | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238
| High Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| Low Season Standard Energy Charge @ | [8 empty] | 0
| Low Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Standard Energy Charge @ | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701
| High Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| High season Exsess Reactive Energy | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| High season Exsess Reactive Energy @ | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589
| High season Exsess Reactive Cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
Voltage Surcharge
Transmission Surcharge
| Electrification & Rural Sub @ | 0.025 | 0.025 | 0.025 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309
| Electrification & Rural cost | 155974.23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Retail Environmental Levy Charge @ | 0.0197 | 0.0197 | 0.0197 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
| Retail Environmental Levy Charge | 122907.69 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
Service
Rebilled Adjustments
| Total Costs |  |  | 1718778.92 | 1938596.5 | 2020576.71 | 3451015.65 | 3667059.58 | 2658205.04 | 2658206.04
| Energy Cost: c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #DIV/0! | #DIV/0!
7# | Demand Costs c/KVA | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Active Energy Cost c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Demand ref.All kWh Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Actice Energy Costs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Reactive Energy Costs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Demand cost ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Active Energy Costs ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Reactive Energy Costs ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Note on E1: Chris.T: Tariff Changed
Note on B9: DRA: Network access kVa
Note on B48: DRA: Rate rebalance levy
Note on B49: DRA: Rate rebalance levy
Note on B81: DRA: Network access kVa
Note on B120: DRA: Rate rebalance levy
Note on B121: DRA: Rate rebalance levy
Note on B149: DRA: Network access kVa
Note on B188: DRA: Rate rebalance levy
Note on B189: DRA: Rate rebalance levy

## Demand
|  | 2010-01-10 | 2010-02-10 | 2010-03-10 | 2010-04-10 | 2010-05-10 | 2010-06-10 | 2010-07-10 | 2010-08-10 | 2010-09-10 | 2010-10-10 | 2010-11-10 | 2010-12-10
Gemsbok | 12.73
Notified Max Demand | 4500 | 4500 | 4500 | 4500 | 0 | 0 | 0 | 4500 | x | 0 | 0 | 0 | 0
Off-Peak Demand Consumption | 2281.11 | 0 | 2326.23 | 2326.52 | 0 | 0 | 0 | 1998.72 |  | 0 | 0 | 0 | 0
Std Demand Consumption | 2336.35 | 0 | 2379.92 | 2359.12 | 0 | 0 | 0 | 2106 |  | 0 | 0 | 0 | 0
Peak Demand Consumption | 2331.84 | 0 | 2366.32 | 2363.68 | 0 | 0 | 0 | 2121.84 |  | 0 | 0 | 0 | 0
Demand Reading kW/kVA | 2336.35 | 0 | 2379.92 | 2363.68 | 0 | 0 | 0 | 2121.84 |  | 0 | 0 | 0 | 0
Waterpan Mill
Notified Max Demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Off-Peak Demand Consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Std Demand Consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak Demand Consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Reading kW/kVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Demand Diffs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Refundable | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | YTD | #REF!
#REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Demand Diffs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Refundable | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Note on E1: Chris.T: Tariff Changed