## Eskom
|  | 2010-01-10 | 2010-02-10 | 2010-03-10 | 2010-04-10 | 2010-05-10 | 2010-06-10 | 2010-07-10 | 2010-08-10 | 2010-09-10 | 2010-10-10 | 2010-11-10 | 2010-12-10 | 2011-01-10 | 2011-02-10 | 2011-03-10 | 2011-04-10 | 2011-05-10 | 2011-06-10 | 2011-07-10 | 2011-08-10
Summary | Admin Charge | 2010-02-10: 2372.72; 2010-03-10: 2626.94; 2010-05-10: 3244.46; 2010-06-10: 3139.8; 2010-07-10: 3244.46; 2010-08-10: 21088.99; 2010-09-10: x
| Transmission Nework Charge | 2010-02-10: 166506.14; 2010-03-10: 162600; 2010-05-10: 201000; 2010-06-10: 201000; 2010-07-10: 201000; 2010-08-10: 446483.54; 2010-09-10: x
| Dist. Network Access Charge | 2010-02-10: 334241.11; 2010-03-10: 326400; 2010-05-10: 403200; 2010-06-10: 403200; 2010-07-10: 403200; 2010-08-10: 895632.66; 2010-09-10: x
| Network Charge Demand | 2010-02-10: 523284.05; 2010-03-10: 451696.77; 2010-05-10: 615680.21; 2010-06-10: 619438.74; 2010-07-10: 575039.94; 2010-08-10: 1141052.9; 2010-09-10: x
| TX Network Access Charge @ rate | 2010-08-10: 3.35
| Utilized Capacity | 2010-08-10: 133278.6687
| Network Access Charge @ Rate | 2010-08-10: 6.72
| Utilized Capacity | 2010-08-10: 133278.6696
| Network Demand Charge @ rate | 2010-08-10: 12.73
| Maximum Demand kVA | 2010-08-10: 89634.9489
| DX Excess Network Access Charge | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 46555.32; 2010-09-10: x
| DX Excess Network Access Charge @ | 2010-08-10: 3.35
| DX Excess Network Access kVA | 2010-08-10: 13897.1104
| Energy Charge (Off) kWh | 2010-02-10: 9951942; 2010-03-10: 10485359; 2010-05-10: 11627137; 2010-06-10: 10801061; 2010-07-10: 11045107; 2010-08-10: 18884803; 2010-09-10: x
| Energy Charge (Off) @ | 2010-08-10: 0.1977
| Energy Charge (Off) R | 2010-02-10: 1372372.8; 2010-03-10: 1445931; 2010-05-10: 1980101.43; 2010-06-10: 2135369.76; 2010-07-10: 2183617.65; 2010-08-10: 3733525.52; 2010-09-10: x
| Energy Charge (Peak) kWh | 2010-02-10: 9951942; 2010-03-10: 10485359; 2010-05-10: 11627137; 2010-06-10: 10801061; 2010-07-10: 11045107; 2010-08-10: 4812144; 2010-09-10: x
| Energy Charge (Peak) @ | 2010-08-10: 1.4238
| Energy Charge (Peak) R | 2010-02-10: 1372372.8; 2010-03-10: 1445931; 2010-05-10: 1980101.43; 2010-06-10: 2135369.76; 2010-07-10: 2183617.65; 2010-08-10: 6851530.63; 2010-09-10: x
| Energy Consumption Standard kWh | 2010-02-10: 9951942; 2010-03-10: 10485359; 2010-05-10: 11627137; 2010-06-10: 10801061; 2010-07-10: 11045107; 2010-08-10: 13427687; 2010-09-10: x
| Energy Charge (Off) @ | 2010-08-10: 0.3701
| Energy Charge (Off) R | 2010-02-10: 1372372.8; 2010-03-10: 1445931; 2010-05-10: 1980101.43; 2010-06-10: 2135369.76; 2010-07-10: 2183617.65; 2010-08-10: 4969586.97; 2010-09-10: x
| Energy Consumption All kWh | 2010-08-10: 47709691.7715
| Reactive Energy kVArh | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 1113824; 2010-07-10: 977899; 2010-08-10: 5423595; 2010-09-10: x
| Reactive Energy @ | 2010-08-10: 0.0589
| Reactive Energy R | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 65604.24; 2010-07-10: 57598.25; 2010-08-10: 319449.17; 2010-09-10: x
| Electrification and rural subs (All) @ | 2010-08-10: 0.024044
| Electrification and rural subs (All) | 2010-02-10: 524509.85; 2010-03-10: 546958.83; 2010-05-10: 730072.75; 2010-06-10: 700005.51; 2010-07-10: 728580.99; 2010-08-10: 1147151.22; 2010-09-10: x
| Environmental Levy @ | 2010-08-10: 0.015563
| Environmental Levy | 2010-02-10: 413313.76; 2010-03-10: 431003.56; 2010-05-10: 472539; 2010-06-10: 453078; 2010-07-10: 471573.46; 2010-08-10: 742492.7; 2010-09-10: x
| Service Charge | 2010-02-10: 37153.48; 2010-03-10: 41134.21; 2010-05-10: 50800.63; 2010-06-10: 49161.9; 2010-07-10: 50800.63; 2010-08-10: 50800.63; 2010-09-10: x
| Total Costs | 2010-08-10: 20365350.84
| Energy Cost: c/kWh | 2010-08-10: 42.686
| Diffs from Calculated Bill | 2010-08-10: -0.59
| % Diff Eskom / Calculated | 2010-08-10: -2.897e-06%
5285390071
Gemsbok | Notified Max Demand | 2010-01-10: 4500; 2010-02-10: 35000; 2010-03-10: 35000; 2010-04-10: 4500; 2010-05-10: 35000; 2010-06-10: 35000; 2010-08-10: 4500; 2010-09-10: x
| Utilised Capacity | 2010-01-10: 4500; 2010-02-10: 36441.38; 2010-03-10: 35000; 2010-04-10: 4500; 2010-05-10: 35000; 2010-06-10: 35000; 2010-08-10: 4500; 2010-09-10: x
| Energy Consumption Off peak kWh | 2010-01-10: 606303; 2010-02-10: 6814030; 2010-03-10: 7358883.75; 2010-04-10: 684285.12; 2010-05-10: 7668512.98; 2010-06-10: 7643450.65; 2010-08-10: 694042.2; 2010-09-10: x
| Energy Consumption Standard kWh | 2010-01-10: 408277.44; 2010-02-10: 5589910; 2010-03-10: 6301801.47; 2010-04-10: 438594.84; 2010-05-10: 5915767.65; 2010-06-10: 6209623.38; 2010-08-10: 515092.32; 2010-09-10: x
| Energy Consumption Peak kWh | 2010-01-10: 162726.12; 2010-02-10: 2009160; 2010-03-10: 2079322.52; 2010-04-10: 172180.08; 2010-05-10: 2162808.43; 2010-06-10: 2295193.52; 2010-08-10: 205524.36; 2010-09-10: x
| Energy Consumption All kWh | 2010-01-10: 1177306.56; 2010-02-10: 14413100; 2010-03-10: 15740007.74; 2010-04-10: 1295060.04; 2010-05-10: 15747089.06; 2010-06-10: 16148267.55; 2010-08-10: 1414658.88; 2010-09-10: x
| Off-Peak Demand Consumption | 2010-01-10: 2281.11; 2010-02-10: 29335.49; 2010-03-10: 28032.27; 2010-04-10: 2326.52; 2010-05-10: 30141.85; 2010-06-10: 28845.73; 2010-08-10: 1998.72; 2010-09-10: x
| Std Demand Consumption | 2010-01-10: 2336.35; 2010-02-10: 31408.71; 2010-03-10: 29857.69; 2010-04-10: 2359.12; 2010-05-10: 30660.24; 2010-06-10: 30230.33; 2010-08-10: 2106; 2010-09-10: x
| Peak Demand Consumption | 2010-01-10: 2331.84; 2010-02-10: 29898.5; 2010-03-10: 29461.33; 2010-04-10: 2363.68; 2010-05-10: 27395.87; 2010-06-10: 29504.56; 2010-08-10: 2121.84; 2010-09-10: x
| Demand Reading kW/kVA | 2010-01-10: 2336.35; 2010-02-10: 31408.71; 2010-03-10: 29857.69; 2010-04-10: 2363.68; 2010-05-10: 30660.24; 2010-06-10: 30230.33; 2010-08-10: 2121.84; 2010-09-10: x
| Reactive Energy Off Peak | 2010-01-10: 518400; 2010-02-10: 1552000; 2010-03-10: 1028975.71; 2010-04-10: 508679.28; 2010-05-10: 2221852.24; 2010-06-10: 1059884.47; 2010-08-10: 372.96; 2010-09-10: x
| Reactive Energy Standard | 2010-01-10: 346643.64; 2010-02-10: 1347600; 2010-03-10: 695807.45; 2010-04-10: 323278.56; 2010-05-10: 1677453.23; 2010-06-10: 913666.76; 2010-08-10: 127.44; 2010-09-10: x
| Reactive Energy Peak | 2010-01-10: 137977.56; 2010-02-10: 528540; 2010-03-10: 256983.73; 2010-04-10: 126531; 2010-05-10: 637948.45; 2010-06-10: 361582.58; 2010-08-10: 148.68; 2010-09-10: x
| Excess Reactive Energy | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 13258.74; 2010-08-10: 0; 2010-09-10: x
| Load Factor | 2010-01-10: 82; 2010-02-10: 72; 2010-03-10: 71; 2010-04-10: 93; 2010-05-10: 70; 2010-06-10: 74; 2010-08-10: 89; 2010-09-10: x
| Days | 2010-01-10: 31; 2010-02-10: 28; 2010-03-10: 31; 2010-04-10: 30; 2010-05-10: 31; 2010-06-10: 30; 2010-08-10: 31; 2010-09-10: x
| Admin Charge @ rate | 2010-02-10: 42.37; 2010-03-10: 42.37; 2010-04-10: 52.33; 2010-05-10: 52.33; 2010-06-10: 52.33; 2010-08-10: 52.33; 2010-09-10: x
| Admin Costs | 2010-01-10: 1313.47; 2010-02-10: 1186; 2010-03-10: 1313.47; 2010-04-10: 1569.9; 2010-05-10: 1622.23; 2010-06-10: 1569.9; 2010-07-10: 0; 2010-08-10: 1622.23; 2010-09-10: x
| TX Network Access Charge @ rate | 2010-01-10: 2.71; 2010-02-10: 2.71; 2010-03-10: 2.71; 2010-04-10: 3.35; 2010-05-10: 3.35; 2010-06-10: 3.35; 2010-08-10: 3.35; 2010-09-10: x
| TX Network Access Cost | 2010-01-10: 12195; 2010-02-10: 98756.1398; 2010-03-10: 94850; 2010-04-10: 15075; 2010-05-10: 117250; 2010-06-10: 117250; 2010-07-10: 0; 2010-08-10: 15075; 2010-09-10: x
| Network Access Charge @ Rate | 2010-01-10: 5.44; 2010-02-10: 5.44; 2010-03-10: 5.44; 2010-04-10: 6.72; 2010-05-10: 6.72; 2010-06-10: 6.72; 2010-08-10: 6.72; 2010-09-10: x
| Network Access cost | 2010-01-10: 24480; 2010-02-10: 198241.1072; 2010-03-10: 190400; 2010-04-10: 30240; 2010-05-10: 235200; 2010-06-10: 235200; 2010-07-10: 0; 2010-08-10: 30240; 2010-09-10: x
| Network Demand Charge @ rate | 2010-01-10: 10.31; 2010-02-10: 10.31; 2010-03-10: 10.31; 2010-04-10: 12.73; 2010-05-10: 12.73; 2010-06-10: 12.73; 2010-08-10: 12.73; 2010-09-10: x
| Network Demand cost | 2010-01-10: 24087.7685; 2010-02-10: 323823.8001; 2010-03-10: 307832.7839; 2010-04-10: 30089.6464; 2010-05-10: 390304.8552; 2010-06-10: 384832.1009; 2010-07-10: 0; 2010-08-10: 27011.0232; 2010-09-10: x
| Number of Events | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 0
| NMD exceeded by | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 0
| Excess NAC charge @ | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-08-10: 10.07
| Excess NAC charge | 2010-08-10: 0
| Low Season Off-peak Energy Charge @ | 2010-01-10: 0.1379; 2010-02-10: 0.1379; 2010-03-10: 0.1379; 2010-04-10: 0.1703; 2010-05-10: 0.1703; 2010-09-10: x
| Low Season Off-peak Energy cost | 2010-01-10: 83609.1837; 2010-02-10: 939654.737; 2010-03-10: 1014790.0691; 2010-04-10: 116533.7559; 2010-05-10: 1305947.7605; 2010-09-10: x
| High Season Off-peak Energy Charge @ | 2010-06-10: 0.1977; 2010-08-10: 0.1977; 2010-09-10: x
| High Season Off-peak Energy cost | 2010-06-10: 1511110.1935; 2010-07-10: 0; 2010-08-10: 137212.1429; 2010-09-10: x
| Low Season Peak Energy Charge @ | 2010-01-10: 0.3219; 2010-02-10: 0.3219; 2010-03-10: 0.3219; 2010-04-10: 0.3975; 2010-05-10: 0.3975; 2010-09-10: x
| Low Season Peak Energy cost | 2010-01-10: 52381.538; 2010-02-10: 646748.604; 2010-03-10: 669333.9192; 2010-04-10: 68441.5818; 2010-05-10: 859716.3509; 2010-09-10: x
| High Season Peak Energy Charge @ | 2010-06-10: 1.4238; 2010-08-10: 1.4238; 2010-09-10: x
| High Season Peak Energy cost | 2010-06-10: 3267896.5338; 2010-07-10: 0; 2010-08-10: 292625.5838; 2010-09-10: x
| Low Season Standard Energy Charge @ | 2010-01-10: 0.1972; 2010-02-10: 0.1972; 2010-03-10: 0.1972; 2010-04-10: 0.2435; 2010-05-10: 0.2435; 2010-09-10: x
| Low Season Standard Energy cost | 2010-01-10: 80512.3112; 2010-02-10: 1102330.252; 2010-03-10: 1242715.2499; 2010-04-10: 106797.8435; 2010-05-10: 1440489.4228; 2010-09-10: x
| High Season Standard Energy Charge @ | 2010-06-10: 0.3701; 2010-08-10: 0.3701; 2010-09-10: x
| High Season Standard Energy cost | 2010-06-10: 2298181.6129; 2010-07-10: 0; 2010-08-10: 190635.6676; 2010-09-10: x
| High season Exsess Reactive Energy | 2010-06-10: 12831; 2010-09-10: x
| High season Exsess Reactive Energy @ | 2010-06-10: 0.0589; 2010-08-10: 0.0589; 2010-09-10: x
| High season Exsess Reactive Cost | 2010-06-10: 755.7459; 2010-07-10: 0; 2010-08-10: 0; 2010-09-10: x
| Electrification & Rural Sub @ | 2010-01-10: 0.025; 2010-02-10: 0.025; 2010-03-10: 0.025; 2010-04-10: 0.0309; 2010-05-10: 0.0309; 2010-06-10: 0.0309; 2010-08-10: 0.0309; 2010-09-10: x
| Electrification & Rural cost | 2010-01-10: 29432.664; 2010-02-10: 360327.5; 2010-03-10: 393500.1935; 2010-04-10: 40017.3552; 2010-05-10: 486585.052; 2010-06-10: 498981.4673; 2010-07-10: 0; 2010-08-10: 43712.9594; 2010-09-10: x
| Retail Environmental Levy Charge @ | 2010-01-10: 0.0197; 2010-02-10: 0.0197; 2010-03-10: 0.0197; 2010-04-10: 0.02; 2010-05-10: 0.02; 2010-06-10: 0.02; 2010-08-10: 0.02; 2010-09-10: x
| Retail Environmental Levy Charge | 2010-01-10: 23192.9392; 2010-02-10: 283938.07; 2010-03-10: 310078.1525; 2010-04-10: 25901.2008; 2010-05-10: 314941.7812; 2010-06-10: 322965.351; 2010-07-10: 0; 2010-08-10: 28293.1776; 2010-09-10: x
| Service | 2010-02-10: 37153.48; 2010-03-10: 41134.21; 2010-05-10: 50800.63; 2010-06-10: 49161.9; 2010-09-10: x
Rebilled Adjustments | bar: 2010-01-10 to 2011-08-10
| Total Costs | 2010-01-10: 331204.77; 2010-02-10: 3992160.15; 2010-03-10: 4265948.26; 2010-04-10: 434666.27; 2010-05-10: 5202858.12; 2010-06-10: 8687905.44; 2010-08-10: 766427.11; 2010-09-10: x
| Energy Cost: c/kWh | 2010-01-10: 28.1324; 2010-02-10: 27.6981; 2010-03-10: 27.1026; 2010-04-10: 33.5634; 2010-05-10: 33.0401; 2010-06-10: 53.8009; 2010-07-10: #DIV/0!; 2010-08-10: 54.1775
| Calculated Bill | 2010-01-10: 0.10463; 2010-02-10: -0.4599; 2010-03-10: -0.21192; 2010-04-10: 0.013712; 2010-05-10: -0.037452; 2010-06-10: -0.63469; 2010-07-10: 0; 2010-08-10: 0.67453
| % Diff Eskom / Calculated | 2010-01-10: 3.159e-05%; 2010-02-10: -1.152e-05%; 2010-03-10: -4.968e-06%; 2010-04-10: 3.155e-06%; 2010-05-10: -7.198e-07%; 2010-06-10: -7.305e-06%; 2010-07-10: #DIV/0!; 2010-08-10: 8.801e-05%
5285390395
Waterpan Mill | Notified Max Demand | 2010-02-10: 25000; 2010-03-10: 25000; 2010-05-10: 25000; 2010-06-10: 25000; 2010-07-10: 25000
| Utilised Capacity | 2010-02-10: 25000; 2010-03-10: 25000; 2010-05-10: 25000; 2010-06-10: 25000; 2010-07-10: 25000
| Energy Consumption Off peak kWh | 2010-02-10: 3137912.37; 2010-03-10: 3126474.54; 2010-05-10: 3958624.35; 2010-06-10: 3157609.86; 2010-07-10: 3075981.93
| Energy Consumption Standard kWh | 2010-02-10: 2489058.9; 2010-03-10: 2236713.48; 2010-05-10: 2951140.77; 2010-06-10: 2520436.68; 2010-07-10: 2461073.85
| Energy Consumption Peak kWh | 2010-02-10: 940322.25; 2010-03-10: 775157.04; 2010-05-10: 970095.87; 2010-06-10: 827585.64; 2010-07-10: 837368.91
| Energy Consumption All kWh | 2010-02-10: 6567293.52; 2010-03-10: 6138345.06; 2010-05-10: 7879860.99; 2010-06-10: 6505632.18; 2010-07-10: 6374424.69
| Off-Peak Demand Consumption | 2010-02-10: 19436.44; 2010-03-10: 14584; 2010-05-10: 17734.03; 2010-06-10: 18337.2; 2010-07-10: 15172.8
| Std Demand Consumption | 2010-02-10: 18849.05; 2010-03-10: 13953.81; 2010-05-10: 17704.26; 2010-06-10: 18429.43; 2010-07-10: 15522.48
| Peak Demand Consumption | 2010-02-10: 19346.28; 2010-03-10: 13852.21; 2010-05-10: 17256.96; 2010-06-10: 15306.46; 2010-07-10: 14691.69
| Demand Reading kW/kVA | 2010-02-10: 19436.44; 2010-03-10: 14584; 2010-05-10: 17734.03; 2010-06-10: 18429.43; 2010-07-10: 15522.48
| Reactive Energy Off Peak | 2010-02-10: 2072548.98; 2010-03-10: 1360041.48; 2010-05-10: 1861758.72; 2010-06-10: 1984226.31; 2010-07-10: 1827989.19
| Reactive Energy Standard | 2010-02-10: 1641928.92; 2010-03-10: 1010747.97; 2010-05-10: 1424112.48; 2010-06-10: 1563964.92; 2010-07-10: 1459916.37
| Reactive Energy Peak | 2010-02-10: 635250.24; 2010-03-10: 360748.89; 2010-05-10: 465941.88; 2010-06-10: 541434.33; 2010-07-10: 507515.13
| Excess Reactive Energy | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 1137692.3; 2010-07-10: 1009443.79
| Load Factor | 2010-02-10: 66; 2010-03-10: 61; 2010-05-10: 66; 2010-06-10: 56; 2010-07-10: 61
| Days | 2010-02-10: 28; 2010-03-10: 31; 2010-05-10: 31; 2010-06-10: 30; 2010-07-10: 31
| Admin Charge @ rate | 2010-01-10: 42.37; 2010-02-10: 42.37; 2010-03-10: 42.37; 2010-04-10: #REF!; 2010-05-10: 52.33; 2010-06-10: 52.33; 2010-07-10: 52.33; 2010-08-10: #REF!
| Admin Costs | 2010-01-10: 0; 2010-02-10: 1186.36; 2010-03-10: 1313.47; 2010-04-10: #REF!; 2010-05-10: 1622.23; 2010-06-10: 1569.9; 2010-07-10: 1622.23; 2010-08-10: #REF!
| TX Network Access Charge @ rate | 2010-01-10: 2.71; 2010-02-10: 2.71; 2010-03-10: 2.71; 2010-04-10: #REF!; 2010-05-10: 3.35; 2010-06-10: 3.35; 2010-07-10: 3.35; 2010-08-10: #REF!
| TX Network Access Cost | 2010-01-10: 0; 2010-02-10: 67750; 2010-03-10: 67750; 2010-04-10: #REF!; 2010-05-10: 83750; 2010-06-10: 83750; 2010-07-10: 83750; 2010-08-10: #REF!
| Network Access Charge @ Rate | 2010-01-10: 5.44; 2010-02-10: 5.44; 2010-03-10: 5.44; 2010-04-10: #REF!; 2010-05-10: 6.72; 2010-06-10: 6.72; 2010-07-10: 6.72; 2010-08-10: #REF!
| Network Access cost | 2010-01-10: 0; 2010-02-10: 136000; 2010-03-10: 136000; 2010-04-10: #REF!; 2010-05-10: 168000; 2010-06-10: 168000; 2010-07-10: 168000; 2010-08-10: #REF!
| Network Demand Charge @ rate | 2010-01-10: 10.31; 2010-02-10: 10.31; 2010-03-10: 10.31; 2010-04-10: #REF!; 2010-05-10: 12.73; 2010-06-10: 12.73; 2010-07-10: 12.73; 2010-08-10: #REF!
| Network Demand cost | 2010-01-10: 0; 2010-02-10: 199460.1468; 2010-03-10: 143863.7811; 2010-04-10: #REF!; 2010-05-10: 225375.2298; 2010-06-10: 234606.6439; 2010-07-10: 197601.1704; 2010-08-10: #REF!
| Number of Events | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0
| NMD exceeded by | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0
| Excess NAC charge @ | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0; 2010-08-10: 10.07
| Excess NAC charge | 2010-08-10: 0
| Low Season Off-peak Energy Charge @ | 2010-01-10: 0.1379; 2010-02-10: 0.1379; 2010-03-10: 0.1379; 2010-04-10: 0.1703; 2010-05-10: 0.1703; 2010-09-10: x
| Low Season Off-peak Energy cost | 2010-01-10: #REF!; 2010-02-10: #REF!; 2010-03-10: #REF!; 2010-04-10: #REF!; 2010-05-10: #REF!
| High Season Off-peak Energy Charge @ | 2010-06-10: 0.1977; 2010-07-10: 0.1977; 2010-08-10: 0.1977
| High Season Off-peak Energy cost | 2010-06-10: 624259.4693; 2010-07-10: 608121.6276; 2010-08-10: 0
| Low Season Peak Energy Charge @ | 2010-01-10: 0.3219; 2010-02-10: 0.3219; 2010-03-10: 0.3219; 2010-04-10: #REF!; 2010-05-10: 0.3975
| Low Season Peak Energy cost | 2010-01-10: 0; 2010-02-10: 302689.7323; 2010-03-10: 249523.0512; 2010-04-10: #REF!; 2010-05-10: 385613.1083
| High Season Peak Energy Charge @ | 2010-06-10: 1.4238; 2010-07-10: 1.4238; 2010-08-10: 1.4238
| High Season Peak Energy cost | 2010-06-10: 1178316.4342; 2010-07-10: 1192245.8541; 2010-08-10: 0
| Low Season Standard Energy Charge @ | 2010-01-10: 0.1972; 2010-02-10: 0.1972; 2010-03-10: 0.1972; 2010-04-10: #REF!; 2010-05-10: 0.2435
| Low Season Standard Energy cost | 2010-01-10: 0; 2010-02-10: 490842.4151; 2010-03-10: 441079.8983; 2010-04-10: #REF!; 2010-05-10: 718602.7775
| High Season Standard Energy Charge @ | 2010-06-10: 0.3701; 2010-07-10: 0.3701; 2010-08-10: 0.3701
| High Season Standard Energy cost | 2010-06-10: 932813.6153; 2010-07-10: 910843.4319; 2010-08-10: 0
| High season Exsess Reactive Energy | 2010-06-10: 1100993; 2010-07-10: 977899
| High season Exsess Reactive Energy @ | 2010-06-10: 0.0589; 2010-07-10: 0.0589; 2010-08-10: 0.0589
| High season Exsess Reactive Cost | 2010-06-10: 64848.4877; 2010-07-10: 57598.2511; 2010-08-10: 0
| Electrification & Rural Sub @ | 2010-01-10: 0.025; 2010-02-10: 0.025; 2010-03-10: 0.025; 2010-04-10: #REF!; 2010-05-10: 0.0309; 2010-06-10: 0.0309; 2010-07-10: 0.0309; 2010-08-10: #REF!
| Electrification & Rural cost | 2010-01-10: 0; 2010-02-10: 164182.338; 2010-03-10: 153458.6265; 2010-04-10: #REF!; 2010-05-10: 243487.7046; 2010-06-10: 201024.0344; 2010-07-10: 196969.7229; 2010-08-10: #REF!
| Retail Environmental Levy Charge @ | 2010-01-10: 0.0197; 2010-02-10: 0.0197; 2010-03-10: 0.0197; 2010-04-10: #REF!; 2010-05-10: 0.02; 2010-06-10: 0.02; 2010-07-10: 0.02; 2010-08-10: #REF!
| Retail Environmental Levy Charge | 2010-01-10: 0; 2010-02-10: 129375.6823; 2010-03-10: 120925.3977; 2010-04-10: #REF!; 2010-05-10: 157597.2198; 2010-06-10: 130112.6436; 2010-07-10: 127488.4938; 2010-08-10: #REF!
| Service | 2010-02-10: 0; 2010-03-10: 0; 2010-05-10: 0; 2010-06-10: 0; 2010-07-10: 0
Rebilled Adjustments
| Total Costs | 2010-02-10: 1924204.69; 2010-03-10: 1745055.12; 2010-05-10: 2658202.04; 2010-06-10: 3619301.88; 2010-07-10: 3544241.12
| Energy Cost: c/kWh | 2010-01-10: #DIV/0!; 2010-02-10: 29.2998; 2010-03-10: 28.4288; 2010-04-10: #DIV/0!; 2010-05-10: 33.7341; 2010-06-10: 55.6334; 2010-07-10: 55.601; 2010-08-10: #DIV/0!
| Calculated Bill | 2010-01-10: #REF!; 2010-02-10: #REF!; 2010-03-10: #REF!; 2010-04-10: #REF!; 2010-05-10: #REF!; 2010-06-10: -0.65162; 2010-07-10: -0.33828; 2010-08-10: #REF!
| % Diff Eskom / Calculated | 2010-01-10: #REF!; 2010-02-10: #REF!; 2010-03-10: #REF!; 2010-04-10: #REF!; 2010-05-10: #REF!; 2010-06-10: -1.8e-05%; 2010-07-10: -9.544e-06%; 2010-08-10: #REF!
Note on E1: Chris.T: Tariff Changed
Note on B28: DRA: Rate rebalance levy
Note on B46: DRA: Network access kVa
Note on B83: DRA: Rate rebalance levy
Note on B84: DRA: Rate rebalance levy
Note on B102: DRA: Network access kVa
Note on B139: DRA: Rate rebalance levy
Note on B140: DRA: Rate rebalance levy

## Vent-3#
Statistics is Based On ESKOM Invoice
Month End |  | 2010-01-07 | 2010-02-07 | 2010-03-07 | 2010-04-07 | 2010-05-07 | 2010-06-07 | 2010-07-07 | 2010-08-07 | 2010-09-07 | 2010-10-07 | 2010-11-07 | 2010-12-07
|  | 4500 | 35000 | 35000 | 4500 | 35000 | 35000 | 0 | 4500 | x | 0 | 0 | 0
|  | 4500 | 36441.38 | 35000 | 4500 | 35000 | 35000 | 0 | 4500 | x | 0 | 0 | 0
Energy | Off-Peak kWh | 606303 | 6814030 | 7358883.75 | 684285.12 | 7668512.98 | 7643450.65 | 0 | 694042.2 | x | 0 | 0 | 0
| Standard kWh | 408277.44 | 5589910 | 6301801.47 | 438594.84 | 5915767.65 | 6209623.38 | 0 | 515092.32 | x | 0 | 0 | 0
| Peak kWh | 162726.12 | 2009160 | 2079322.52 | 172180.08 | 2162808.43 | 2295193.52 | 0 | 205524.36 | x | 0 | 0 | 0
| Total | 1177306.56 | 14413100 | 15740007.74 | 1295060.04 | 15747089.06 | 16148267.55 | 0 | 1414658.88 | x | 0 | 0 | 0
Demand | Off-Peak | 2281.11 | 29335.49 | 28032.27 | 2326.52 | 30141.85 | 28845.73 | 0 | 1998.72 | x | 0 | 0 | 0
| Standard | 2336.35 | 31408.71 | 29857.69 | 2359.12 | 30660.24 | 30230.33 | 0 | 2106 | x | 0 | 0 | 0
| Peak | 2331.84 | 29898.5 | 29461.33 | 2363.68 | 27395.87 | 29504.56 | 0 | 2121.84 | x | 0 | 0 | 0
| Demand | 2336.35 | 31408.71 | 29857.69 | 2363.68 | 30660.24 | 30230.33 | 0 | 2121.84 | x | 0 | 0 | 0
Reactve Energy | Off-Peak | 518400 | 1552000 | 1028975.71 | 508679.28 | 2221852.24 | 1059884.47 | 0 | 372.96 | x | 0 | 0 | 0
| Standard | 346643.64 | 1347600 | 695807.45 | 323278.56 | 1677453.23 | 913666.76 | 0 | 127.44 | x | 0 | 0 | 0
| Peak | 137977.56 | 528540 | 256983.73 | 126531 | 637948.45 | 361582.58 | 0 | 148.68 | x | 0 | 0 | 0
| Excess | 0 | 0 | 0 | 0 | 0 | 13258.74 | 0 | 0 | x | 0 | 0 | 0
Reactive Energy Total |  | 1003021.2 | 3428140 | 1981766.89 | 958488.84 | 4537253.92 | 2335133.81 | 0 | 649.08 | 0 | 0 | 0 | 0
Appareny Energy | VAh | 1546642.2546 | 14815181.25 | 15864275.7055 | 1611173.9086 | 16387723.6674 | 16316231.0224 | 0 | 1414659.0289 | #VALUE! | 0 | 0 | 0
Average PF |  | 0.7612 | 0.97286 | 0.99217 | 0.8038 | 0.96091 | 0.98971 | #DIV/0! | 1 | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0!
Energy Cost | Off-Peak | 83609.1837 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | 0.3219 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Energy Cost |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Demand Cost |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Other Costs |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Invoice | ESKOM Total | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Energy Cost | c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
% Increase |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
%Annual increase | % | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Rates | Peak c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2010-01-01
40179

## Load Shifting Savings
Month End |  | 2010-02-07 | 2010-03-07 | 2010-04-07 | 2010-05-07 | 2010-06-07
Five# |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | #REF! | #REF! | #REF! | #REF! | #REF!
Demand | Off-Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand | #REF! | #REF! | #REF! | #REF! | #REF!
Energy | Off-Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Total | #REF! | #REF! | #REF! | #REF! | #REF!
Reactve Energy | Off-Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Total | #REF! | #REF! | #REF! | #REF! | #REF!
Energy Charge & Rate | Low Season Off-peak Energy Charge @ | 0.1379 | 0.1379 | 0.1703 | 0.1703 | 1.1703
| Low Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Off-peak Energy Charge @
High Season Off-peak Energy cost
| Low Season Peak Energy Charge @ | 0.3219 | 0.3219 | 0.3975 | 0.3975 | 1.3975
| Low Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Peak Energy Charge @
High Season Peak Energy cost
| Low Season Standard Energy Charge @ | 0.1972 | 0.1972 | 0.2435 | 0.2435 | 1.2435
| Low Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Standard Energy Charge @
High Season Standard Energy cost
High season reactive @
High season reactive
Cost savings | Off-Peak kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Standard kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Peak kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Energy Total Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Off-Peak kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Standard kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Peak kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Energy Total |  |  | #REF! | #REF! | #REF!
| Off-Peak kWh % Change |  |  | #REF! | #REF! | #REF!
| Standard kWh % Change |  |  | #REF! | #REF! | #REF!
| Peak kWh % Change |  |  | #REF! | #REF! | #REF!
| Energy Total |  |  | #REF! | #REF! | #REF!
| Off-Peak kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Standard kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Peak kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Energy Total Cost Change |  |  | #REF! | #REF! | #REF!
Month End |  | 2010-02-07 | 2010-03-07 | 2010-04-07 | 2010-05-07 | 2010-06-07
7# |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | #REF! | #REF! | #REF! | #REF! | #REF!
Demand | Off-Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand | #REF! | #REF! | #REF! | #REF! | #REF!
Energy | Off-Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Total | #REF! | #REF! | #REF! | #REF! | #REF!
Reactve Energy | Off-Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Total | #REF! | #REF! | #REF! | #REF! | #REF!
Energy Charge & Rate | Low Season Off-peak Energy Charge @ | 0.1379 | 0.1379 | 0.1703 | 0.1703 | 1.1703
| Low Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Off-peak Energy Charge @
High Season Off-peak Energy cost
| Low Season Peak Energy Charge @ | 0.3219 | 0.3219 | 0.3975 | 0.3975 | 1.3975
| Low Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Peak Energy Charge @
High Season Peak Energy cost
| Low Season Standard Energy Charge @ | 0.1972 | 0.1972 | 0.2435 | 0.2435 | 1.2435
| Low Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF!
High Season Standard Energy Charge @
High Season Standard Energy cost
High season reactive @
High season reactive
Cost savings | Off-Peak kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Standard kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Peak kWh Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Energy Total Normalised Feb-Mar | #REF! |  | #REF! | #REF! | #REF!
| Off-Peak kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Standard kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Peak kWh Normalised Diffs |  |  | #REF! | #REF! | #REF!
| Energy Total |  |  | #REF! | #REF! | #REF!
| Off-Peak kWh % Change |  |  | #REF! | #REF! | #REF!
| Standard kWh % Change |  |  | #REF! | #REF! | #REF!
| Peak kWh % Change |  |  | #REF! | #REF! | #REF!
| Energy Total |  |  | #REF! | #REF! | #REF!
| Off-Peak kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Standard kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Peak kWh Cost Change |  |  | #REF! | #REF! | #REF!
| Energy Total Cost Change |  |  | #REF! | #REF! | #REF!
| Total Cost Change: Ezulwini |  |  | #REF! | #REF! | #REF!

## PFC Savings2
|  | 2010-01-10 | 2010-02-10 | 2010-03-10 | 2010-04-10 | 2010-05-10 | 2010-06-10 | 2010-07-10 | 2010-08-10
Vent Shaft - 3# | Notified Max Demand | 4500 | 35000 | 35000 | 4500 | 35000 | 35000 | 0
| Utilised Capacity | 4500 | 36441.38 | 35000 | 4500 | 35000 | 35000 | 0
| Energy Consumption Off peak kWh | 606303 | 6814030 | 7358883.75 | 684285.12 | 7668512.98 | 7643450.65 | 0
| Energy Consumption Standard kWh | 408277.44 | 5589910 | 6301801.47 | 438594.84 | 5915767.65 | 6209623.38 | 0
| Energy Consumption Peak kWh | 162726.12 | 2009160 | 2079322.52 | 172180.08 | 2162808.43 | 2295193.52 | 0
| Energy Consumption All kWh | 1177306.56 | 14413100 | 15740007.74 | 1295060.04 | 15747089.06 | 16148267.55 | 0
| Off-Peak Demand Consumption | 2281.11 | 29335.49 | 28032.27 | 2326.52 | 30141.85 | 28845.73 | 0
| Std Demand Consumption | 2336.35 | 31408.71 | 29857.69 | 2359.12 | 30660.24 | 30230.33 | 0
| Peak Demand Consumption | 2331.84 | 29898.5 | 29461.33 | 2363.68 | 27395.87 | 29504.56 | 0
| Demand Reading kW/kVA | 2336.35 | 31408.71 | 29857.69 | 2363.68 | 30660.24 | 30230.33 | 0
| Reactive Energy Off Peak | 518400 | 1552000 | 1028975.71 | 508679.28 | 2221852.24 | 1059884.47 | 0
| Reactive Energy Standard | 346643.64 | 1347600 | 695807.45 | 323278.56 | 1677453.23 | 913666.76 | 0
| Reactive Energy Peak | 137977.56 | 528540 | 256983.73 | 126531 | 637948.45 | 361582.58 | 0
| Excess Reactive Energy | 0 | 0 | 0 | 0 | 0 | 13258.74 | 0
| Standard excess kVArh | 341561.625 | -435425.4167 | -1117365.3838 | 309096.12 | -14797.3792 | -1169455.3029 | 0
| Peak excess kVArh | 227562.72 | -282790.4167 | -1142217.9788 | 195355.065 | -47979.0013 | -897473.3925 | 0
| Excess VArh Total - Calculated | 569124.345 | -718215.8333 | -2259583.3625 | 504451.185 | -62776.3804 | -2066928.6954 | 0
| Excess VArh Total (Eskom or Calc) | 569124.345 | -718215.8333 | -2259583.3625 | 504451.185 | -62776.3804 | 13258.74 | 0
| Load Factor |  |  | 92 | 93 | 90 | 89 | 89
| Days |  |  | 31 | 30 | 31 | 31 | 31
| Admin Charge @ rate | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 6.72 | 6.72
| Admin Costs | 1313.47 | 1186 | 1622.23 | 1569.9 | 1622.23 | 1622.23 | 1622.23 | 0 | 0
| TX Network Access Charge @ rate | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 12.73 | 12.73
| TX Network Access Cost | 67750 | 122078.623 | 117250 | 15075 | 117250 | 117250 | 0 | 0 | 0
| Network Access Charge @ Rate | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 0 | 0
| Network Access cost | 136000 | 244886.0736 | 235200 | 30240 | 235200 | 235200 | 0 | 0 | 0
| Network Demand Charge @ rate | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 0.1977 | 0
| Network Demand cost | 29741.7355 | 399832.8783 | 380088.3937 | 30089.6464 | 390304.8552 | 384832.1009 | 0 | 0 | 0
| Low Season Off-peak Energy Charge @ | [8 empty] | 0
| Low Season Off-peak Energy cost | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
| High Season Off-peak Energy Charge @ | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977
| High Season Off-peak Energy cost | 119866.1031 | 1347133.731 | 1454851.3174 | 135283.1682 | 1516065.0161 | 1511110.1935 | 0 | 0
| Low Season Peak Energy Charge @ | [8 empty] | 0
| Low Season Peak Energy cost | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
| High Season Peak Energy Charge @ | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238
| High Season Peak Energy cost | 231689.4497 | 2860642.008 | 2960539.404 | 245149.9979 | 3079406.6426 | 3267896.5338 | 0 | 0
| Low Season Standard Energy Charge @ | [8 empty] | 0
| Low Season Standard Energy cost | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
| High Season Standard Energy Charge @ | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701
| High Season Standard Energy cost | 151103.4805 | 2068825.691 | 2332296.724 | 162323.9503 | 2189425.6073 | 2298181.6129 | 0 | 0
| High season Exsess Reactive Energy | 569124.345 | -718215.8333 | -2259583.3625 | 504451.185 | -62776.3804 | 13258.74 | 0
| High season Exsess Reactive Energy @ | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589
| High season Exsess Reactive Cost | 33521.4239 | -42302.9126 | -133089.4601 | 29712.1748 | -3697.5288 | 780.9398 | 0 | 0
Voltage Surcharge | bar: 2010-01-10 to 2010-07-10
Transmission Surcharge | bar: 2010-01-10 to 2010-07-10
| Electrification & Rural Sub @ | 0.025 | 0.025 | 0.025 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0
| Electrification & Rural cost | 155974.23 | 360327.5 | 393500.1935 | 40017.3552 | 486585.052 | 498981.4673 | 0 | 0 | 0
| Retail Environmental Levy Charge @ | 0.0197 | 0.0197 | 0.0197 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
| Retail Environmental Levy Charge | 122907.69 | 283938.07 | 310078.1525 | 25901.2008 | 314941.7812 | 322965.351 | 0 | 0 | 0
Service | bar: 2010-01-10 to 2010-07-10
Rebilled Adjustments | bar: 2010-01-10 to 2010-07-10
| Total Costs |  |  | 373805.22 | 434666.27 | 456619.85 | 774703.95 | 796754.94
| Energy Cost: c/kWh | 0 | 0 | 2.3749 | 33.5634 | 2.8997 | 4.7974 | #DIV/0! | #DIV/0! | #DIV/0!
| Calculated Bill | 1049867.5827 | 7646547.6623 | 8052336.955 | 715362.3936 | 8327103.6556 | 8638820.4292 | 1622.23 | 0 | 0
| % Diff Eskom / Calculated | -100% | -100% | -95.36% | -39.24% | -94.52% | -91.03% | 49015% | #DIV/0! | #DIV/0!
| Energy Cost: c/kWh | 89.1754 | 53.0528 | 51.1584 | 55.2378 | 52.8803 | 53.4969 | #DIV/0! | #DIV/0! | #DIV/0!
3# | Demand Costs c/KVA | 233491.7355 | 766797.5749 | 732538.3937 | 75404.6464 | 742754.8552 | 737282.1009 | 0
| Active Energy Cost c/kWh | 781540.9533 | 6920867 | 7451265.7914 | 608675.6724 | 7586424.0992 | 7899135.1585 | 0
| Reactive Energy Cost | 33521.4239 | -42302.9126 | -133089.4601 | 29712.1748 | -3697.5288 | 780.9398 | 0
| Normalised Demand ref.All kWh Jan 2010 | 233491.7355 | 62634.3961 | 54791.7301 | 68548.4704 | 55530.9086 | 53752.333 | #DIV/0!
| Normalised Actice Energy Costs | 781540.9533 | 565317.8095 | 557332.896 | 553331.7684 | 567187.1687 | 575894.8204 | #DIV/0!
| Normalised Reactive Energy Costs | 33521.4239 | -3455.4327 | -9954.7025 | 27010.592 | -276.44 | 56.9352 | #DIV/0!
|  | 2010-01-10 | 2010-02-10 | 2010-03-10 | 2010-04-10 | 2010-05-10 | 2010-06-10 | 2010-07-10
| % Demand cost ref Jan 2010 | 100% | 28.5% | 23.47% | 29.36% | 23.78% | 23.02% | #DIV/0!
| % Active Energy Costs ref Jan 2010 | 100% | 74.23% | 71.31% | 70.8% | 72.57% | 73.69% | #DIV/0!
| % Reactive Energy Costs ref Jan 2010 | 100% | 77.36% | -29.7% | 80.58% | -0.8247% | 0.1698% | #DIV/0!
Hartbeest Five - 5# | Notified Max Demand | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Utilised Capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Off peak kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Standard kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption All kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Off-Peak Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Std Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand Reading kW/kVA | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Off Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Standard | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess Reactive Energy | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard excess kVArh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak excess kVArh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArh Total - Calculated | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArh Total (Eskom or Calc) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Load Factor |  |  | 68 | 65 | 66 | 65 | 65
| Days |  |  | 31 | 30 | 31 | 30 | 31
| Admin Charge @ rate |  |  | 42.37 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33
| Admin Costs | 1313.47 | 1186 | 1313.47 | 1569.9 | 1622.23 | 1569.9 | 1622.23 | 0 | 0
| TX Network Access Charge @ rate | 2.71 | 2.71 | 2.71 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35
| TX Network Access Cost | 98756.14 | 98756.14 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Network Access Charge @ Rate | 5.44 | 5.44 | 5.44 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72
| Network Access cost | 198241.11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Network Demand Charge @ rate | 10.31 | 10.31 | 10.31 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73
| Network Demand cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Low Season Off-peak Energy Charge @ | [8 empty] | 0
| Low Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Off-peak Energy Charge @ | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977
| High Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| Low Season Peak Energy Charge @ | [8 empty] | 0
| Low Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Peak Energy Charge @ | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238
| High Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| Low Season Standard Energy Charge @ | [8 empty] | 0
| Low Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Standard Energy Charge @ | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701
| High Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| High season Exsess Reactive Energy | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| High season Exsess Reactive Energy @ | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589
| High season Exsess Reactive Cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
Voltage Surcharge
Transmission Surcharge
| Electrification & Rural Sub @ | 0.025 | 0.025 | 0.025 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309
| Electrification & Rural cost | 399765.25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Retail Environmental Levy Charge @ | 0.0197 | 0.0197 | 0.0197 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
| Retail Environmental Levy Charge | 315015.02 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
Service
| Total Costs |  |  | 546312.4 | 616258.97 | 608454.79 | 962235.47 | 965180.58
| Energy Cost: c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #DIV/0! | #DIV/0!
| Calculated Bill | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
5# | Demand Costs c/KVA | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Active Energy Cost c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Demand ref.All kWh Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Actice Energy Costs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Reactive Energy Costs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Demand cost ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Active Energy Costs ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Reactive Energy Costs ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Zandpan Shaft - 7# | Notified Max Demand | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Utilised Capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Off peak kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Standard kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption Peak kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Energy Consumption All kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Off-Peak Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Std Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak Demand Consumption | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand Reading kW/kVA | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Off Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Standard | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Peak | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess Reactive Energy | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Standard excess kVArh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Peak excess kVArh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArh Total - Calculated |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Excess VArh Total (Eskom or Calc) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Load Factor |  |  | 78 | 61 | 73 | 76 | 78
| Days |  |  | 31 | 30 | 31 | 30 | 31
| Admin Charge @ rate |  |  | 42.37 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33 | 52.33
| Admin Costs | 1313.47 | 1186 | 1313.47 | 1569.9 | 1622.23 | 1569.9 | 1622.23 | 0 | 0
| TX Network Access Charge @ rate | 2.71 | 2.71 | 2.71 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35
| TX Network Access Cost | 67750 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Network Access Charge @ Rate | 5.44 | 5.44 | 5.44 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72 | 6.72
| Network Access cost | 136000 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Network Demand Charge @ rate | 10.31 | 10.31 | 10.31 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73 | 12.73
| Network Demand cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Low Season Off-peak Energy Charge @ | [8 empty] | 0
| Low Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Off-peak Energy Charge @ | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977 | 0.1977
| High Season Off-peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| Low Season Peak Energy Charge @ | [8 empty] | 0
| Low Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Peak Energy Charge @ | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238 | 1.4238
| High Season Peak Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| Low Season Standard Energy Charge @ | [8 empty] | 0
| Low Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 0
| High Season Standard Energy Charge @ | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701 | 0.3701
| High Season Standard Energy cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
| High season Exsess Reactive Energy | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| High season Exsess Reactive Energy @ | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589 | 0.0589
| High season Exsess Reactive Cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
Voltage Surcharge
Transmission Surcharge
| Electrification & Rural Sub @ | 0.025 | 0.025 | 0.025 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309 | 0.0309
| Electrification & Rural cost | 155974.23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
| Retail Environmental Levy Charge @ | 0.0197 | 0.0197 | 0.0197 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
| Retail Environmental Levy Charge | 122907.69 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0
Service
Rebilled Adjustments
| Total Costs |  |  | 1718778.92 | 1938596.5 | 2020576.71 | 3451015.65 | 3667059.58 | 2658205.04 | 2658206.04
| Energy Cost: c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #DIV/0! | #DIV/0!
7# | Demand Costs c/KVA | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Active Energy Cost c/kWh | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Reactive Energy Cost | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Demand ref.All kWh Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Actice Energy Costs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Normalised Reactive Energy Costs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Demand cost ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Active Energy Costs ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| % Reactive Energy Costs ref Jan 2010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Note on E1: Chris.T: Tariff Changed
Note on B9: DRA: Network access kVa
Note on B48: DRA: Rate rebalance levy
Note on B49: DRA: Rate rebalance levy
Note on B81: DRA: Network access kVa
Note on B120: DRA: Rate rebalance levy
Note on B121: DRA: Rate rebalance levy
Note on B149: DRA: Network access kVa
Note on B188: DRA: Rate rebalance levy
Note on B189: DRA: Rate rebalance levy

## Demand
|  | 2010-01-10 | 2010-02-10 | 2010-03-10 | 2010-04-10 | 2010-05-10 | 2010-06-10 | 2010-07-10 | 2010-08-10 | 2010-09-10 | 2010-10-10 | 2010-11-10 | 2010-12-10
Gemsbok | 12.73
Notified Max Demand | 4500 | 35000 | 35000 | 4500 | 35000 | 35000 | 0 | 4500 | x | 0 | 0 | 0 | 0
Off-Peak Demand Consumption | 2281.11 | 29335.49 | 28032.27 | 2326.52 | 30141.85 | 28845.73 | 0 | 1998.72 |  | 0 | 0 | 0 | 0
Std Demand Consumption | 2336.35 | 31408.71 | 29857.69 | 2359.12 | 30660.24 | 30230.33 | 0 | 2106 |  | 0 | 0 | 0 | 0
Peak Demand Consumption | 2331.84 | 29898.5 | 29461.33 | 2363.68 | 27395.87 | 29504.56 | 0 | 2121.84 |  | 0 | 0 | 0 | 0
Demand Reading kW/kVA | 2336.35 | 31408.71 | 29857.69 | 2363.68 | 30660.24 | 30230.33 | 0 | 2121.84 |  | 0 | 0 | 0 | 0
Waterpan Mill
Notified Max Demand | 0 | 25000 | 25000 | 0 | 25000 | 25000 | 25000 | 0 | 0 | 0 | 0 | 0 | 0
Off-Peak Demand Consumption | 0 | 19436.44 | 14584 | 0 | 17734.03 | 18337.2 | 15172.8 | 0 | 0 | 0 | 0 | 0 | 0
Std Demand Consumption | 0 | 18849.05 | 13953.81 | 0 | 17704.26 | 18429.43 | 15522.48 | 0 | 0 | 0 | 0 | 0 | 0
Peak Demand Consumption | 0 | 19346.28 | 13852.21 | 0 | 17256.96 | 15306.46 | 14691.69 | 0 | 0 | 0 | 0 | 0 | 0
Demand Reading kW/kVA | 0 | 19436.44 | 14584 | 0 | 17734.03 | 18429.43 | 15522.48 | 0 | 0 | 0 | 0 | 0 | 0
#REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Demand Diffs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Refundable | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | YTD | #REF!
#REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Demand Diffs | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Refundable | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Note on E1: Chris.T: Tariff Changed